## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103) [Old Course]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the terms: i) Accuracy ii) Precision iii) Sensitivity. |  |
| b) | A PMMC instrument cannot be used for AC measurement. Explain. |  |
| c) | Draw a neat circuit diagram for measurement of power by 3- Wattmeter method in a 3 phase circuit having star connected load. |  |
| d) | State the different methods adopted for measurement of high resistance. |  |
| e) | State disadvantages of Ammeter-Voltmeter method in measurement of medium resistance. |  |
| f) | With a neat diagram explain the extension of range of voltmeter using a P.T. |  |
| g) | With a neat diagram explain the extension of range of Ammeter using a C.T. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain the various dynamic characteristics of measuring instruments. |  |
| b) | Briefly explain the classification of measuring instruments as: Absolute & Secondary instruments. Give suitable examples. |  |
| c) | What is the importance of damping torque in the indicating type of measuring instruments? State the methods of producing damping torque. Briefly explain any one of these methods with a neat diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat labelled diagram, explain the construction & working of an attraction type of MI instrument. |  |
| b) | Briefly explain the various types of errors associated with PMMC type of instruments and methods adopted to minimise the same. |  |
| c) | With a neat diagram explain working of a rectifier type of instrument, using full wave rectifier circuit. Also state its advantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat labelled diagram, explain the construction & working of a single phase electrodynamometer type of Wattmeter. |  |
| b) | i) Briefly explain any three types of errors associated with the electrodynamometer type of Wattmeter. |  |
|  | ii) A 3 phase 500V motor load has a power factor of 0.8. Two Wattmeters are used for the power measurement. They show the total input power to be 30KW. Find readings of each Wattmeter. |  |
| c) | With a neat circuit diagram & phasor diagram, explain the method of power measurement by one Wattmeter method for a 3 phase star connected balanced load. |  |

……2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | With a neat sketch explain the construction & working of single phase induction type Energy meter. |  |
| b) | Explain various types of errors associated with the measurement using induction type Energy meter and method adopted for their adjustment/minimising. |  |
| c) | Describe with the help of neat diagram the principle of measurement of low resistance by using Kelvin Double Bridge. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the extension of a range of Wattmeter by use of C.T & P.T in the measurement of power in 3 phase 3 wire circuit by two Wattmeter method. |  |
| b) | With the help of neat diagram explain construction and working principle of single phase Electrodynamometer power factor meter. |  |
| c) | Write a short note on earth tester. |  |

***********